Any and each individual performing tasks related to the installation, service, repair, inspection, testing, or design of fire protection equipment or systems shall meet the following criteria.

Design:

Fire protection equipment and systems including but not limited to fire alarms, sprinklers, fixed suppression systems, fire pumps, and fire protection water supply systems shall be designed by a qualified person.  To be considered as a qualified person, the individual shall demonstrate to this authority that they:

- Are registered by a State administered licensing body and have specifically been tested in the field of fire protection, or

- Have successfully taken and are current with the testing requirements as established by this authority and an approved testing agency such as Compliance Services and Assessments, or

- Are currently certified in design by a Nationally recognized testing/licensing body in the field of fire protection design such as a NICET III, or

- Can demonstrate an equivalent level of proficiency acceptable to this authority.

Installation, Service, Repair, Inspection:

Any person who installs, services, repairs, alters, tests, or inspects any fire alarm system, sprinkler system, fixed suppression system, fire pump, fire extinguisher, hose station, standpipe system, or related fire protection equipment or system(s) shall be qualified in accordance with this regulation.  To be considered as a qualified person, the individual shall demonstrate to this authority that they:

- Are registered by a State administered licensing body and have specifically been tested in the field of fire protection, or

- Have successfully taken and are current with the testing requirements as established by this authority and an approved testing agency such as Compliance Services and Assessments, or

- Are currently certified by a Nationally recognized testing/licensing body in the field of fire protection such as a NICET III, or

- Can demonstrate an equivalent level of proficiency acceptable to this authority.

Exception 1: Testing and inspection of systems may be done by the owners facility personnel when they can demonstrate proficiency in the respective tasks and such tasks are performed in accordance with the applicable standard/design requirements.  Such tasks could include but are not limited to weekly/monthly visual inspections.

This authority is authorized to conduct an administrative hearing with an individual to investigate a complaint or violation of an adopted code/standard.  If warranted, the jurisdiction may require that additional testing or proficiency be provided to demonstrate that the individual is qualified to provide the respective services.